## Slide 1
Project Costing & Pricing Guide
Project-wise costing · Material-wise breakdown · Customer pricing with healthy profit
Alpha Eco-Power
+91 9840790462 | wahab2010og@gmail.com | www.alphaecopower.in

## Slide 2
AT A GLANCE
Project-wise Cost, Price & Profit Summary
Project | Total Cost | Customer Price | Gross Profit | Margin
1KW Rooftop Solar System | Rs 40,000 | Rs 52,000 | Rs 12,000 | 23.1%
2KW Rooftop Solar System | Rs 71,000 | Rs 92,000 | Rs 21,000 | 22.8%
3KW Rooftop Solar System | Rs 105,000 | Rs 135,000 | Rs 30,000 | 22.2%
5KW Rooftop Solar System | Rs 165,000 | Rs 210,000 | Rs 45,000 | 21.4%
10KW Rooftop Solar System | Rs 3,04,000 | Rs 3,85,000 | Rs 81,000 | 21.0%
Alpha Eco-Power · Summary

## Slide 3
PROJECT 1 OF 5
1KW Rooftop Solar System
Target customer: Small homes, 1-2 BHK flats, monthly bill Rs 800-1,200
Material / Item | Specification | Cost
Mono PERC solar panels (335W x 3) | Tier-1, 25-year warranty | Rs 13,500
On-grid solar inverter (1.1KW) | 5-year warranty, MNRE approved | Rs 6,800
Module mounting structure (GI) | Hot-dip galvanised, wind-load tested | Rs 3,200
DC cables & connectors (MC4) | 4mm² XLPE, UV resistant | Rs 1,400
AC cables & earthing materials | 6mm² FR-LSH, copper earth strip | Rs 1,200
Lightning arrestor & surge protection | SPD Type-2, 20KA | Rs 2,100
Junction box, MCB, changeover switch | Weather-proof, 32A MCB | Rs 1,800
Net metering setup & fittings | Bi-directional meter compatible | Rs 2,000
Materials total |  | Rs 32,000
COST BUILD-UP
Materials
Rs 32,000
Labour & installation
Rs 5,500
Overheads / transport
Rs 2,500
Total project cost
Rs 40,000
CUSTOMER PRICING
Suggested price
Rs 52,000
Govt. subsidy
Rs 30,000
Net customer pays
Rs 22,000
Gross profit
Rs 12,000
Profit margin
23.1%
Alpha Eco-Power · Costing

## Slide 4
PROJECT 2 OF 5
2KW Rooftop Solar System
Target customer: Medium homes, 2-3 BHK, monthly bill Rs 1,500-2,500
Material / Item | Specification | Cost
Mono PERC solar panels (335W x 6) | Tier-1, 25-year warranty | Rs 27,000
On-grid solar inverter (2KW) | 5-year warranty, MNRE approved | Rs 11,500
Module mounting structure (GI) | Hot-dip galvanised, wind-load tested | Rs 6,200
DC cables & connectors (MC4) | 4mm² XLPE, UV resistant | Rs 2,400
AC cables & earthing materials | 6mm² FR-LSH, copper earth strip | Rs 2,000
Lightning arrestor & surge protection | SPD Type-2, 20KA | Rs 2,500
Junction box, MCB, changeover switch | Weather-proof, 63A MCB | Rs 2,400
Net metering setup & fittings | Bi-directional meter compatible | Rs 2,500
Cable trays & conduit pipes | UV stabilised PVC, 25mm | Rs 1,500
Materials total |  | Rs 58,000
COST BUILD-UP
Materials
Rs 58,000
Labour & installation
Rs 9,000
Overheads / transport
Rs 4,000
Total project cost
Rs 71,000
CUSTOMER PRICING
Suggested price
Rs 92,000
Govt. subsidy
Rs 60,000
Net customer pays
Rs 32,000
Gross profit
Rs 21,000
Profit margin
22.8%
Alpha Eco-Power · Costing

## Slide 5
PROJECT 3 OF 5
3KW Rooftop Solar System
Target customer: Large homes, villas, 3-4 BHK, monthly bill Rs 2,500-4,000
Material / Item | Specification | Cost
Mono PERC solar panels (540W x 6) | Tier-1, 25-year warranty | Rs 43,200
On-grid solar inverter (3KW) | 5-year warranty, MNRE approved | Rs 16,800
Module mounting structure (GI) | Hot-dip galvanised, wind-load tested | Rs 9,000
DC cables & connectors (MC4) | 6mm² XLPE, UV resistant | Rs 3,500
AC cables & earthing materials | 10mm² FR-LSH, copper earth strip | Rs 2,800
Lightning arrestor & surge protection | SPD Type-2, 40KA | Rs 3,200
Junction box, MCB, changeover switch | Weather-proof, 63A MCB | Rs 3,000
Net metering setup & fittings | Bi-directional meter compatible | Rs 3,000
Cable trays, conduit & accessories | UV stabilised PVC, clamps | Rs 2,500
Materials total |  | Rs 87,000
COST BUILD-UP
Materials
Rs 87,000
Labour & installation
Rs 12,500
Overheads / transport
Rs 5,500
Total project cost
Rs 105,000
CUSTOMER PRICING
Suggested price
Rs 135,000
Govt. subsidy
Rs 78,000
Net customer pays
Rs 57,000
Gross profit
Rs 30,000
Profit margin
22.2%
Alpha Eco-Power · Costing

## Slide 6
PROJECT 4 OF 5
5KW Rooftop Solar System
Target customer: Large villas, small institutions, monthly bill Rs 5,000-7,000
Material / Item | Specification | Cost
Mono PERC solar panels (540W x 10) | Tier-1, 25-year warranty | Rs 72,000
On-grid solar inverter (5KW) | 5-year warranty, MNRE approved | Rs 26,500
Module mounting structure (GI) | Hot-dip galvanised, wind-load tested | Rs 14,500
DC cables & connectors (MC4) | 6mm² XLPE, UV resistant | Rs 5,500
AC cables & earthing materials | 16mm² FR-LSH, copper earth strip | Rs 4,200
Lightning arrestor & surge protection | SPD Type-2, 40KA | Rs 4,000
Junction box, MCB, changeover switch | Weather-proof, 100A MCB | Rs 4,500
Net metering setup & fittings | Bi-directional meter compatible | Rs 4,000
Cable trays, conduit & accessories | UV stabilised PVC, distribution box | Rs 3,800
Materials total |  | Rs 139,000
COST BUILD-UP
Materials
Rs 139,000
Labour & installation
Rs 18,000
Overheads / transport
Rs 8,000
Total project cost
Rs 165,000
CUSTOMER PRICING
Suggested price
Rs 210,000
Govt. subsidy
Rs 78,000
Net customer pays
Rs 132,000
Gross profit
Rs 45,000
Profit margin
21.4%
Alpha Eco-Power · Costing

## Slide 7
PROJECT 5 OF 5
10KW Rooftop Solar System
Target customer: Institutions, hospitals, corporate offices, monthly bill Rs 10,000+
Material / Item | Specification | Cost
Mono PERC solar panels (540W x 19) | Tier-1, 25-year warranty | Rs 1,36,800
On-grid solar inverter (10KW) | 5-year warranty, MNRE approved | Rs 48,000
Module mounting structure (GI) | Hot-dip galvanised, wind-load tested | Rs 28,000
DC cables & connectors (MC4) | 6mm² XLPE, UV resistant | Rs 10,500
AC cables & earthing materials | 25mm² FR-LSH, copper earth strip | Rs 7,500
Lightning arrestor & surge protection | SPD Type-2, 40KA | Rs 6,500
Junction boxes, MCB, MCCB, changeover | IP65 rated, 125A MCCB | Rs 8,000
Net metering setup & fittings | Bi-directional meter compatible | Rs 6,000
Cable trays, conduit, distribution board | Galvanised steel trays, 3-phase DB | Rs 6,700
Materials total |  | Rs 2,58,000
COST BUILD-UP
Materials
Rs 2,58,000
Labour & installation
Rs 32,000
Overheads / transport
Rs 14,000
Total project cost
Rs 3,04,000
CUSTOMER PRICING
Suggested price
Rs 3,85,000
Net customer pays
Rs 3,85,000
Gross profit
Rs 81,000
Profit margin
21.0%
Alpha Eco-Power · Costing

## Slide 8
PRICING STRATEGY
How We Price for Healthy Profit
Alpha Eco-Power follows a transparent value-based pricing model that balances quality components, professional installation, and healthy margins. For residential systems up to 3KW, we aggressively leverage the PM Surya Ghar subsidy (Rs 30,000 for 1KW, Rs 60,000 for 2KW, Rs 78,000 for 3KW and above) to make net customer payments highly attractive while maintaining 21-23% gross margins. Our quoted prices are consistently 8-12% below Tamil Nadu market competitors, yet we never compromise on Tier-1 panels, MNRE-approved inverters, or certified installation practices. For institutional projects (5KW+), we emphasise lifecycle value, rapid ROI (3-4 years), and our proven track record with hospitals and offices across Tamil Nadu.
PRICING TIPS
• Always present pricing in two stages: system price and net price after subsidy deduction
• Highlight 25-year panel warranty and 5-year inverter warranty as value differentiators
• Offer free site survey and generation estimation reports to build trust
• Emphasise our authorised vendor status under PM Surya Ghar for faster subsidy processing
• Provide monthly savings calculations based on TNEB tariff (Rs 5-7/unit)
• Bundle 1-year free AMC with every residential system above 3KW
• Use completed local projects (Karur, Coimbatore, Chennai) as social proof during quotations
PAYMENT TERMS
• 30% advance on purchase order confirmation
• 40% on material delivery to site
• 20% on system installation completion
• 10% after net metering approval and commissioning
• Subsidy amount processed directly with DISCOM after commissioning
Tamil Nadu rooftop solar market has 40+ active EPC players, but only 12-15 are PM Surya Ghar authorised vendors. Our pricing is 8-12% lower than established Chennai-based competitors while maintaining superior component quality and faster project turnaround (15-21 days vs. industry average 30-45 days).
Alpha Eco-Power · Pricing

## Slide 9
Let's build together.
Transparent costing. Fair pricing. Healthy profit.
+91 9840790462 | wahab2010og@gmail.com | www.alphaecopower.in
© Alpha Eco-Power · Prepared with simplestores